## Slide 1: Notes/Results from MFP reservoir model
August 22 2017

## Slide 3: Simplified 2-reservoir model (source)

## Slide 4: FMD inflow from Duncan Creek

## Slide 5: FMD inflow from MF American
Most of FMD is coming from here, but Duncan Creek is not negligible. Watch out for missing data periods.
Ignoring evaporation for now

## Slide 6: Releases from FMD
Green = French Meadows Powerplant. Blue = into American River

## Slide 7: HHL Outflows

## Slide 8: Missing data
Missing WY 2008 for two powerhouse flows
This would not matter, except these are needed to calculate both reservoir inflows
Once we have RHESSys inflows to FMD/HHL, then we can have as long of a model run as we want. But for the historical period we should start 10/1/2009.

## Slide 9: Matching mass balance (when cheating using USGS gages)

## Slide 10: Check hydropower calculations w/USGS flows
Assumption: constant hydraulic head. Data from:
http://relicensing.pcwa.net/var/www/html/public_html/documents/Resource_Agencies_PMEs//USFS%20-%20August%205,%202011/04_Enclosure%20III/FS_lit%20cited_2/20110805-5082(26145358).pdf
Important: calibrated 80% efficiency to account for turbine losses and tunnel head losses
This is as good as it gets---but a concern is that the effect of the vegetation & ecosystem scenarios will be within this error

## Slide 11: Environmental flows
First: year-round instream flow reqs. in the bypass regions (from Kristen) we are not changing these

## Slide 12: Environmental flows
Second, add pulse flows. 4 scenarios:
No pulse (only instream flows)
FERC proposed (“FERC”)
+1 day/step, +10% cfs/day (“increase”)
Same, plus a <20% restriction on rampdown (“increase_rampdown”)
** I added Wet-year pulse flows to all WYTs for maximum effect, but in Kristen’s writeup they are only applied in Wet and Above Normal years

## Slide 13: Mass balance using instream flows (no pulse)
Historically they may not have followed the new FERC rules exactly. This is pretty good. (Still using USGS observed hydropower releases)

## Slide 14: Fit historical release policy
*Need this to test changes in other scenarios
Try to fit R^2 of storage or release timeseries?
Release is much harder to fit… in reality the operations of the two reservoirs are not perfectly correlated
Indicators: storage, day of year
Action: % of combined hydro release activated (0-1)
Objective: Fit R^2 (later, maximize combined power)
Fitting storage, can get R^2 ~ 0.91
Fitting release, only R^2 ~ 0.40 (more flashy)
Eventually switched to RMSE on storage instead
Run 10 random seeds for 100,000 NFE each

## Slide 15: Best fit: HHL
Storage (left) is much easier to fit than release (right)

## Slide 16: Best fit: FMD
Not as good as HHL. But this was the policy that minimized RMSE (storage) after 100k function evaluations.

## Slide 17: Results (simulate other scenarios with the best-fit policy)

## Slide 18: Next step: reoptimize in each scenario
Optimization results pending as of 8/22